## Start Here
ConnectaSat · Pre-Season Connectivity Checklist
Audit your setup across all three resilience layers before hurricane season.
How to use this workbook
Work through each tab. For every item, set the Status using the dropdown: Not Started, In Progress, Complete, or N/A.
Mark an item N/A to exclude it from your score. Use the Priority dropdown to triage. Add an Owner and Notes as you go.
Progress updates automatically. The table below rolls up every tab so you can see overall readiness at a glance.
| OVERALL READINESS |  | 0%
| Section | Items | Applicable | Complete | % Complete
| Infrastructure Dependency Mapping | 10 | 10 | 0 | 0%
| Layer 1 | 8 | 8 | 0 | 0%
| Layer 2 | 12 | 12 | 0 | 0%
| Layer 3 | 10 | 10 | 0 | 0%
| Power & Fuel Readiness | 8 | 8 | 0 | 0%
| Site Risk Ranking | 8 | 8 | 0 | 0%
| Team, Runbook & Documentation | 10 | 10 | 0 | 0%
| Pre-Season Final Verification & Drill | 8 | 8 | 0 | 0%
| TOTAL | 74 | 74 | 0 | 0%
Status legend
| Complete | Done and verified
| In Progress | Started, not finished
| Not Started | Not yet begun
| N/A | Does not apply to you
Found gaps you cannot close on your own? Book a Free Connectivity Risk Assessment with ConnectaSat.

## 1. Dependency Mapping
ConnectaSat · Infrastructure Dependency Mapping
Find out what your “redundancy” actually shares. A backup that rides the same trench, carrier, or grid is one layer wearing a disguise.
Set each item's Status. Mark N/A to exclude it. Progress updates automatically. |  |  |  | Applicable: | 10 | % Complete: | 0%
✓ | # | Checklist Item | Why It Matters | Priority | Status | Owner | Notes
| 1 | Document every internet path serving each site (primary, secondary, cellular). | You cannot protect a dependency you have not written down. | Critical | Not Started
| 2 | Trace each path to its physical entry point (trench, conduit, building entry). | Shared entry points fail together. | Critical | Not Started
| 3 | Confirm whether primary and backup share the same trench or duct. | One backhoe or flood can sever both. | Critical | Not Started
| 4 | Confirm whether primary and backup ride the same carrier regional facility. | A single flooded hub can drop both circuits. | Critical | Not Started
| 5 | Identify the central office or aggregation hub each circuit depends on. | Hub damage darkens whole metros. | High | Not Started
| 6 | Map which circuits share the same last-mile cable run. | Last-mile damage is the most common outage cause. | High | Not Started
| 7 | Verify cellular failover does not backhaul through the same fiber as primary. | Cellular often shares the fiber it is meant to back up. | High | Not Started
| 8 | Record the power grid feed each connectivity component depends on. | No power means no link, regardless of cable health. | High | Not Started
| 9 | Flag any backup that shares a trench, carrier, or grid with the primary. | These are duplication, not redundancy. | Critical | Not Started
| 10 | Produce a one-page physical dependency map per critical site. | A clear map is what the Risk Assessment verifies against. | Medium | Not Started

## 2. Layer 1 Primary
ConnectaSat · Layer 1 — Primary Connection Health
Your everyday connection. Fast and cost-efficient, but it shares the ground the storm travels. Know its limits before you lean on it.
Set each item's Status. Mark N/A to exclude it. Progress updates automatically. |  |  |  | Applicable: | 8 | % Complete: | 0%
✓ | # | Checklist Item | Why It Matters | Priority | Status | Owner | Notes
| 1 | Confirm contracted bandwidth matches current peak usage. | Undersized links fail under recovery-day load. | Medium | Not Started
| 2 | Record the SLA and guaranteed restoration time from each ISP. | Restoration promises rarely hold after a major storm. | High | Not Started
| 3 | Identify the demarcation point and who owns it. | Ownership decides who can fix what, and when. | Medium | Not Started
| 4 | Test how a primary drop is detected (the failover trigger). | Undetected drops never trigger failover. | Critical | Not Started
| 5 | Confirm router and firewall firmware is current and supported. | Unsupported gear fails at the worst moment. | Medium | Not Started
| 6 | Document static IPs, routing, and DNS dependencies. | Hidden dependencies break failover silently. | High | Not Started
| 7 | Verify monitoring alerts on degradation, not just full failure. | Brownouts hurt before the link fully dies. | High | Not Started
| 8 | Identify any single router or switch that is itself a point of failure. | One dead box can sink an otherwise sound design. | Critical | Not Started

## 3. Layer 2 Sat Failover
ConnectaSat · Layer 2 — Automatic Satellite Failover
An independent path that activates in seconds when Layer 1 drops, running above the weather. This is the layer that keeps the business running.
Set each item's Status. Mark N/A to exclude it. Progress updates automatically. |  |  |  | Applicable: | 12 | % Complete: | 0%
✓ | # | Checklist Item | Why It Matters | Priority | Status | Owner | Notes
| 1 | Confirm a satellite terminal is installed and provisioned at each critical site. | Provisioning after landfall is too late. | Critical | Not Started
| 2 | Verify the terminal has a clear, unobstructed sky view. | Obstruction is the most common cause of a dead terminal. | Critical | Not Started
| 3 | Confirm the satellite path uses infrastructure independent of the primary. | Shared dependency defeats the entire point. | Critical | Not Started
| 4 | Validate SD-WAN or bonding hardware is configured for automatic failover. | Manual failover does not happen mid-crisis. | Critical | Not Started
| 5 | Set and document failover trigger thresholds (latency, loss, downtime). | Wrong thresholds cause flapping or missed failover. | High | Not Started
| 6 | Test that failover happens automatically with no manual step. | If it needs a human, it will not happen in time. | Critical | Not Started
| 7 | Measure actual failover switch time and record it. | You cannot improve a number you have not measured. | High | Not Started
| 8 | Confirm critical applications stay connected through a simulated outage. | A link that is up but apps that drop is still an outage. | Critical | Not Started
| 9 | Verify failback to primary is automatic and clean once it recovers. | Messy failback creates a second outage. | Medium | Not Started
| 10 | Confirm the satellite data allowance covers must-run workloads. | Running out mid-storm is a self-inflicted outage. | High | Not Started
| 11 | Mount and secure the terminal to survive hurricane-force wind. | A terminal that blows away protects nothing. | High | Not Started
| 12 | Document the terminal power source and battery or UPS backup. | No power, no satellite, no failover. | High | Not Started

## 4. Layer 3 Portable Kit
ConnectaSat · Layer 3 — Portable Survivable Link & Kit Pre-Positioning
A compact terminal pre-positioned on-site, live in minutes. Not full operations, but command and coordination when every other layer has failed.
Set each item's Status. Mark N/A to exclude it. Progress updates automatically. |  |  |  | Applicable: | 10 | % Complete: | 0%
✓ | # | Checklist Item | Why It Matters | Priority | Status | Owner | Notes
| 1 | Inventory all portable satellite terminals and their assigned sites. | Unassigned kits help no one. | High | Not Started
| 2 | Confirm each kit is charged and powers on. | A dead battery is a dead kit. | High | Not Started
| 3 | Verify each kit reaches the satellite from its staging location. | Test the link before you depend on it. | Critical | Not Started
| 4 | Pre-position kits on-site before the season, not in a warehouse. | A kit across town during a storm is unreachable. | Critical | Not Started
| 5 | Store kits in a waterproof, secure, accessible case. | Flooded or locked-away gear cannot deploy. | High | Not Started
| 6 | Include cabling, adapters, and mounts in each kit. | A missing cable strands the whole kit. | Medium | Not Started
| 7 | Label each kit with quick-start instructions. | Stress is no time to learn the setup. | Medium | Not Started
| 8 | Assign a named owner responsible for each portable kit. | Shared ownership becomes no ownership. | Medium | Not Started
| 9 | Confirm at least one kit per emergency operations or command location. | Command must stay connected to coordinate. | High | Not Started
| 10 | Test setup time from case to live link and record the target. | Know how fast you can be back online. | Medium | Not Started

## 5. Power & Fuel
ConnectaSat · Power & Fuel Readiness
Power fails first in almost every storm. Connectivity depends on electricity, so a power plan is a connectivity plan.
Set each item's Status. Mark N/A to exclude it. Progress updates automatically. |  |  |  | Applicable: | 8 | % Complete: | 0%
✓ | # | Checklist Item | Why It Matters | Priority | Status | Owner | Notes
| 1 | Record backup power runtime for each connectivity component. | Runtime defines how long you stay online. | Critical | Not Started
| 2 | Confirm UPS batteries are tested and within service life. | Aged batteries fail under real load. | High | Not Started
| 3 | Confirm generators start and carry the comms load. | A generator that will not start is decoration. | High | Not Started
| 4 | Document fuel on hand and the refueling source. | Generators are only as good as their fuel supply. | High | Not Started
| 5 | Establish a refueling plan that survives blocked roads. | Fuel logistics break down exactly when needed. | Critical | Not Started
| 6 | Verify the satellite terminal stays powered when the grid is gone. | The survivable layer must survive the power loss. | Critical | Not Started
| 7 | Confirm network gear is on protected power. | Routers and switches on raw mains drop with the grid. | High | Not Started
| 8 | Identify how long the full stack runs on backup before failure. | One weak link sets the true runtime. | High | Not Started

## 6. Site Risk Ranking
ConnectaSat · Site Risk Ranking
Not every site carries equal risk or equal cost when it drops. Rank exposure and criticality so you protect the right sites first.
Set each item's Status. Mark N/A to exclude it. Progress updates automatically. |  |  |  | Applicable: | 8 | % Complete: | 0%
✓ | # | Checklist Item | Why It Matters | Priority | Status | Owner | Notes
| 1 | List all sites and tag those in surge, flood, or wind-exposed zones. | Exposure drives priority. | High | Not Started
| 2 | Rank each site by operational impact if it goes offline. | Criticality drives priority alongside exposure. | High | Not Started
| 3 | Score each site current connectivity independence (true layers). | Find the sites with hidden single points of failure. | Critical | Not Started
| 4 | Identify which sites have no independent failover today. | These are your highest-risk gaps. | Critical | Not Started
| 5 | Prioritize satellite deployment to highest-exposure, highest-impact sites first. | Spend the budget where it removes the most risk. | High | Not Started
| 6 | Record evacuation or unmanned-operation plans per site. | Some sites must run with no one present. | Medium | Not Started
| 7 | Note which sites must run autonomously with no on-site staff. | Autonomy demands automatic, no-human failover. | High | Not Started
| 8 | Set a target resilience posture for each site before season start. | A target makes readiness measurable. | Medium | Not Started

## 7. Team & Runbook
ConnectaSat · Team, Runbook & Documentation
When the network goes, the work goes with it. A clear runbook and a prepared team turn a crisis into a procedure.
Set each item's Status. Mark N/A to exclude it. Progress updates automatically. |  |  |  | Applicable: | 10 | % Complete: | 0%
✓ | # | Checklist Item | Why It Matters | Priority | Status | Owner | Notes
| 1 | Write a one-page outage runbook per critical site. | Short and clear beats long and unread. | High | Not Started
| 2 | Define who declares an outage and who owns the response. | Unclear ownership wastes the first critical hour. | High | Not Started
| 3 | Document the manual steps if automatic failover does not trigger. | A plan B prevents a full stop. | High | Not Started
| 4 | Maintain a current contact tree for ISP, satellite, and internal leads. | Stale contacts cost time you do not have. | Medium | Not Started
| 5 | Store the runbook somewhere reachable without the primary network. | A runbook you cannot open is useless. | Critical | Not Started
| 6 | Confirm leadership can communicate independent of terrestrial networks. | Decisions stall when leaders go dark. | High | Not Started
| 7 | Record account numbers, support lines, and escalation paths offline. | Support is slow when you cannot prove who you are. | Medium | Not Started
| 8 | Brief on-site staff on portable kit setup. | Trained hands deploy faster. | Medium | Not Started
| 9 | Schedule a pre-season tabletop walkthrough of the runbook. | Walkthroughs surface gaps before the storm does. | High | Not Started
| 10 | Assign a single owner for keeping this checklist current. | An unowned checklist goes stale. | Medium | Not Started

## 8. Final Verification
ConnectaSat · Pre-Season Final Verification & Drill
Prove it works before the season starts. An untested failover is a hope, not a plan.
Set each item's Status. Mark N/A to exclude it. Progress updates automatically. |  |  |  | Applicable: | 8 | % Complete: | 0%
✓ | # | Checklist Item | Why It Matters | Priority | Status | Owner | Notes
| 1 | Run a full failover drill: cut the primary and confirm satellite carries the work. | The only real proof is a live test. | Critical | Not Started
| 2 | Confirm every critical app survives the drill. | Connectivity without working apps is not survival. | Critical | Not Started
| 3 | Time the end-to-end switch and compare to target. | Measure it under realistic conditions. | High | Not Started
| 4 | Verify monitoring alerted the right people during the drill. | Silent failover is hard to trust or manage. | Medium | Not Started
| 5 | Confirm failback completed cleanly after the drill. | Clean recovery matters as much as failover. | Medium | Not Started
| 6 | Resolve every issue found in the drill before season start. | A known issue left open will resurface mid-storm. | Critical | Not Started
| 7 | Re-confirm all terminals have power, mounting, and sky view. | Conditions drift between install and season. | High | Not Started
| 8 | Sign off: each critical site has independent, automatic, tested resilience. | One owner signs that the site is truly ready. | High | Not Started